2024 Consumer Confidence Report

Lisbon Water Department

PWS ID#1361010

Introduction

Like any responsible public water system, our mission is to deliver the best-quality drinking water and reliable service at the lowest, appropriate cost.

Aging infrastructure presents challenges to drinking water safety, and continuous improvement is needed to maintain the quality of life we desire for today and for the future.

When considering the high value we place on water, it is truly a bargain to have water service that protects public health, fights fires, supports businesses and the economy, and provides us with the high-quality of life we enjoy.

What is a Consumer Confidence Report?

The Consumer Confidence Report (CCR) details the quality of your drinking water, where it comes from, and where you can get more information. This annual report documents all detected primary and secondary drinking water parameters, and compares them to their respective standards known as Maximum Contaminant Levels (MCLs).

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.

Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the number of certain contaminants in water provided by public water systems.  The US Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

What is the source of my drinking water?

The Town of Lisbon has (2) gravel packed wells, each well can deliver up to 500 gpm.  The water is pumped to the chemical feed building and then through the main to (2) reservoirs which can hold approximately 320,000 gallons each.  Chlorine is added for disinfection and soda ash is added for corrosion control.

Why are contaminants in my water? Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.

Do I need to take special precautions? Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline at 1-800-426-4791.

Source Water Assessment Summary

DES prepared drinking water source assessment reports for all public water systems between 2000 and 2003 to assess the vulnerability of each of the state’s public water supply sources. Included in the report is a map of each source water protection area, a list of potential and known contamination sources, and a summary of available protection options.  The results of the assessment, prepared on 11/07/2002 are noted below.

- Source ID#002, (3) susceptibility factors were rated high, (3) were rated medium, and (6) were rated low.

- Source ID#003, (3) susceptibility factors were rated high, (3) were rated medium, and (6) were rated low.

Note:  This information is over 1 years old and includes information that was current at the time the report was completed.  Therefore, some of the ratings might be different if updated to reflect current information.  At the present time, DES has no plans to update this data.

The complete Assessment Report is available for review at the Lisbon Town Office.  For more information, call the Selectmen’s Office at (603) 838-6376 or visit the DES Drinking Water Source Assessment website at; http://des.nh.gov/organization/divisions/water/dwgb/dwspp/dwsap.htm.

How can I get involved?

For more information about your drinking water, please call the Lisbon Water Department or the primary operator, BJ Hurlbert at (603) 838-6027.  Meetings are held at the Central Street Railroad Station on Mondays at 6:30PM.

Violations and Other information: See violation list in table below.

Definitions:

Ambient Groundwater Quality Standard or AGQS: The maximum concentration levels for contaminants in groundwater that are established under RSA 485-C, the Groundwater Protection Act.

Action Level or AL: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Level I Assessment: A study of the water system to identify potential problems and determine, if possible, why total coliform bacteria have been found in our water system.

Level II Assessment: A very detailed study of the water system to identify potential problems and determine, if possible, why an E.coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

Maximum Contaminant Level or MCL: The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal or MCLG: The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level or MRDL: The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal or MRDLG: The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Treatment Technique or TT: A required process intended to reduce the level of a contaminant in drinking water.

Abbreviations

BDL: Below Detection Limit

mg/L: milligrams per Liter

NA: Not Applicable

ND: Not Detectable at testing limits

NTU: Nephelometric Turbidity Unit

pCi/L: picoCurie per Liter

ppb: parts per billion

ppm: parts per million

RAA: Running Annual Average

TTHM: Total Trihalomethanes

UCMR: Unregulated Contaminant Monitoring Rule

ug/L: micrograms per Liter

Drinking Water Contaminants:

Lead: If present, elevated levels of lead can cause serious problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  This water system is responsible for high quality drinking water, but can not control the variety of materials used in your plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing cold water from your tap for at least 30 seconds to 2 minutes before using water for drinking or cooking.  Do not use hot water for drinking and cooking.  If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at 800-426-4791 or at http://www.epa.gov/safewater/lead.

System Name: Lisbon Water Department  PWS ID: 1361010

2024 Report (2023 data)

LEAD AND COPPER

| Contaminant (Units) | Action Level | 90th percentile sample value * | Date | # of sites above AL | Violation Yes/No | Likely Source of Contamination | Health Effects of Contaminant |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Copper (ppm) | 1.3 | 0.71 | 9/22/23 | 0 | NO | Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives | Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level over a relatively short amount of time could experience gastrointestinal distress. Some people who drink water containing copper in excess of the action level over many years could suffer liver or kidney damage. People with Wilson’s Disease should consult their personal doctor. |
| Lead (ppb) | 15 | 2 | 9/22/23 | 0 | NO | Corrosion of household plumbing systems, erosion of natural deposits | (15 ppb in more than 5%) Infants and young children are typically more vulnerable to lead in drinking water than the general population. It is possible that lead levels at your home may be higher than at other homes in the community as a result of materials used in your home’s plumbing. If you are concerned about elevated lead levels in your home’s water, you may wish to have your water tested and flush your tap for 30 seconds to 2 minutes before using tap water. Additional information is available from the Safe Drinking Water Hotline (800-426-4791). (above 15 ppb) Infants and children who drink water containing lead in excess of the action level could experience delays in their physical or mental development. Children could show slight deficits in attention span and learning abilities. Adults who drink this water over many years could develop kidney problems or high blood pressure. |

DETECTED WATER QUALITY RESULTS

| Contaminant (Units) | Level Detected* | MCL | MCLG | Violation YES/NO | Likely Source of Contamination | Health Effects of Contaminant |
| --- | --- | --- | --- | --- | --- | --- |
| Radioactive Contaminants |
| Compliance Gross Alpha (pCi/L) | 0.3 10/21/2015 | 15 | 0 | NO | Erosion of natural deposits | Certain minerals are radioactive and may emit a form of radiation know as alpha radiation. Some people who drink water containing alpha emitters in excess of the MCL over many years may have an increased risk of getting cancer. |
| Uranium (ug/L) | 0.1 10/21/2015 | 30 | 0 | NO | Erosion of natural deposits | Some people who drink water containing uranium in excess of the MCL over many years may have an increased risk of getting cancer and kidney toxicity. |
| Combined Radium 226 + 228 (pCi/L) | 0.3 & 0.5 10/21/2015 | 5 | 0 | NO | Erosion of natural deposits | Some people who drink water containing radium 226 or 228 in excess of the MCL over many years may have an increased risk of getting cancer. |
| Inorganic Contaminants |
| Barium (ppm) | 0.029 & 0.014 11/9/21 | 2 | 2 | NO | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits | Some people who drink water containing barium in excess of the MCL over many years could experience an increase in their blood pressure. |
| Chlorine (ppm) | Range 1.05-0.81 Average 0.94 | MRDL = 4 | MRDLG = 4 | NO | Water additive used to control microbes | Some people who use water containing chlorine well in excess of the MRDL could experience irritating effects to their eyes and nose. Some people who drink water containing chlorine well in excess of the MRDL could experience stomach discomfort. |
| Fluoride (ppm) | 0.19 11/9/21 | 4 | 4 | NO | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories | Some people who drink water containing fluoride in excess of the MCL over many years could get bone disease, including pain and tenderness of the bones. Fluoride in drinking water at half the MCL or more may cause mottling of children’s teeth, usually in children less than nine years old. Mottling also known as dental fluorosis, may include brown staining and/or pitting of the teeth, and occurs only in developing teeth before they erupt from the gums. |
| Volatile Organic Contaminants |
| Haloacetic Acids (HAA) (ppb) | Range 15-16 Highest LRAA 16 | 60 | NA | NO | By-product of drinking water disinfection | Some people who drink water containing haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer. |
| Total Trihalomethanes (TTHM) (Bromodichloro-methane Bromoform Dibromochloro-methane Chloroform) ppb | Range 22-24 Highest LRAA 24 | 80 | N/A | NO | By-product of drinking water chlorination | Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous systems, and may have an increased risk of getting cancer. |

|  |  | PER- AND POLYFLUOROALKYL SUBSTANCES (PFAS) CONTAMINANTS |
| --- | --- | --- |
| Contaminant (Units) | Level Detected* | Date | MCL | MCLG | Violation YES/NO | Likely Source of Contamination | Health Effects of Contaminant |
| Perfluorooctanoic acid (PFOA) (ppt) | 2 | 10/10/23 | 12 | 0 | NO | Discharge from industrial processes, wastewater treatment, residuals from firefighting foam, runoff/leachate from landfills and septic systems | Some people who drink water containing perfluorooctanoic acid (PFOA) in excess of the MCL over many years could experience problems with their liver, endocrine system, or immune system, may experience increased cholesterol levels, and may have an increased risk of getting certain types of cancer. It may also lower a women’s chance of getting pregnant. |

| SECONDARY CONTAMINANTS |
| --- |
| Secondary MCLs (SMCL) | Level Detected | Date | Treatment technique (if any) | AL (Action Level), SMCL or AGQS (Ambient groundwater quality standard) | Specific contaminant criteria and reason for monitoring |
| Chloride (ppm) | 11 & 21 | 11/9/2021 | N/A | 250 | Wastewater, road salt, water softeners, corrosion |
| PH (ppm) | 6.52 & 6.45 | 11/9/2021 | N/A | 6.5-8.5 | Precipitation and geology |
| Sodium (ppm) | 7.1 & 12 | 11/9/2021 | N/A | 100-250 | We are required to regularly sample for sodium |
| Sulfate (ppm) | 5.4 | 11/9/2021 | N/A | 250 | Naturally occurring |
| Iron (ppm) | 0.054 & 2.2 | 11/9/2021 | N/A | 0.3 | Geological |
| Manganese (ppm) | 0.13 & 1.7 | 11/9/2021 | N/A | 0.05 | Geological |